## Autopilots
SERVICETYPE | WORK REQUESTD | NEXT DATE | LAST DATE | FERQUENCY | OUTPUT TO | ASSIGNED TO | ORIGINATOR
aa | test reading | 42407.9993 |  | read1f23: 125.00 | In-House Staff | aman deep | Ray Fuller
HVAC | test reading | 42407.9993 |  | read1f23: 125.00 | In-House Staff | aman deep | Ray Fuller
aa | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 25569.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
HVAC | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 25569.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
aa | test pm reading 2 | 42407.9993 |  | read1f23: 250.00 | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test pm reading 2 | 42407.9993 |  | read1f23: 250.00 | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test pm reading 2 | 2 |  |  | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test pm reading 2 | 2 |  |  | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test pm reading 2 | 2 |  |  | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test pm reading 2 | 2 |  |  | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test pm reading 2 | 2 |  |  | In-House Staff | Gurvinder Singh | Ray Fuller
HVAC | test reading | 2 |  |  | In-House Staff | aman deep | Ray Fuller
HVAC | test reading | 2 |  |  | In-House Staff | aman deep | Ray Fuller
HVAC | test reading | 2 |  |  | In-House Staff | aman deep | Ray Fuller
HVAC | test reading | 2 |  |  | In-House Staff | aman deep | Ray Fuller
HVAC | test reading | 2 |  |  | In-House Staff | aman deep | Ray Fuller
HVAC | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 42449.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
HVAC | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 42449.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
HVAC | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 42449.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
HVAC | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 42449.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
HVAC | 1234567890 qwertyuiopasdfghjklzxcvbnm []{}\;',./!@#$%^&*()+_) CSVtest | 42449.9993 |  | Annually | A-1 Vendor | King Vendor | Ray Fuller
HVAC | test for pm emails | 42436 |  | Daily | In-House Staff | aman deep | aman deep
HVAC | test for pm emails | 42436 |  | Daily | In-House Staff | aman deep | aman deep
HVAC | 3000 spaces and characters | 42488.934 |  | Daily | Car Wash | Tammy Lunes | Ray Fuller
aa | test for pm emails | 42468 | 42433.9993 | Monthly | 6098 | Customer Service | Ray Fuller
HVAC | test for pm emails | 42468 | 42433.9993 | Monthly | 6098 | Customer Service | Ray Fuller
HVAC | test for pm emails | 42468 |  | Monthly | 6098 | Customer Service | Ray Fuller
HVAC | test for pm emails | 42468 |  | Monthly | 6098 | Customer Service | Ray Fuller
HVAC | test for pm emails | 42468 |  | Monthly | 6098 | Customer Service | Ray Fuller
HVAC | 45ytyrt | 42473.9993 |  | Daily | Car Wash | vk vk | Ray Fuller
Elevators | Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils. | 42486.9993 |  | Daily | NF Tester Gmail & FAX | Gmail User Primary FAX & E-mail. No login | Ray Fuller
Air Conditioner | Annual maintenance Check the brake disc and pad wear Check the infeed motor Replace the sealed joints of the doctor blade caps Check belt of main anilox motor Grease the anilox and plate cylinder shaft bearings Check load cells Check side register bushings Clean the between colors drying boxes Clean the tunnel drying boxes Check the speed match transmission belt Check the belt of the side register device Check the cooling roller transmission belt Check the between colours drying air pressure Check the drying air in the tunnel screens Grease the doctor blade linear guides Grease the printer units linear guides Check positioning motor toothed belts Grease the printer unit spindle nuts Grease the side register device Clean the anilox and plate cylinder cap bearings Check all electrical connections Check the positioning servo motors encoder connection Check that all the contacts work properly Check the side register sensors and relays Check Internet connection Clean electric radi ators Check the state of the static relays in the electric drying system Check speed match motorization | 42797.9167 | 42432.9167 | Annually | In-House Staff | Pablo Shaw | Patty Ramirez
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Boilers | Creating a PM and assigning it to a Pooling department. | 42464.9201 | 42430.9167 | Weekly | 6098 | Customer Service | Ray Fuller
Boilers | Testing for 12/3 Holiday date feature | 42464.125 | 42432.125 | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Boilers | testing reading PM | 42417.7917 |  | Refridgerent 2014: 2121.00 | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | testing reading PM | 2 |  |  | In-House Staff | aman deep | Ray Fuller
Air Handling Units | Testing for 12/3 Holiday date feature | 42464.125 |  | Daily | 6098 | Customer Service | Ray Fuller
Air Handling Units | Creating a PM and assigning it to a Pooling department. | 42464.9993 |  | Weekly | 6098 | Customer Service | Ray Fuller
Air Duct | Mod 403 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Air Duct | Mod 403 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Air Duct | Mod 123 Airstrip Annual Fire and Gas Calibration and Function Test (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Air Conditioner | Safety Inspection A. Make sure guards are in place and in good working order B. Check safety switches for proper operation Air Lines And Fittings A. Inspect all air lines and repair or replace as needed Electrical Inspection A. Turn power supply off B. Lock out quick disconnect box C. Check for worn or broken cords D. Check for loose conduit E. Check power supply box for any malfunction, repair as needed F. Check electrical panel lights, change burn out bulbs as needed G. Unlock quick disconnect box H. Restore power supply I. Clean out intake cooling end of motor Machine Cleaning A. Wipe underneath of all suction cups on traverser and inspect for replacement Grease Points And Oil Replacement On Material Stocker A. Apply grease to chain on elevator assembly B. Grease roller follower on elevator assembly C. Grease drive bearings located on top of FMS D. Grease guide rail on elevator assembly E. Grease cam follower on shifter conveyor assembly F. Grease guide rail on shifter conveyor assembly F. Apply grease to chain on shifter conveyor assembly G. Replace oil in gear reduction gear box on top of FMS | 42444 | 42262.9993 | Quarterly | In-House Staff | Pablo Shaw | Jessica Salazar
Air Handling Unit | Safety Inspection A. Make sure guards are in place and in good working order B. Check safety switches for proper operation Air Lines And Fittings A. Inspect all air lines and repair or replace as needed Electrical Inspection A. Turn power supply off B. Lock out quick disconnect box C. Check for worn or broken cords D. Check for loose conduit E. Check power supply box for any malfunction, repair as needed F. Check electrical panel lights, change burn out bulbs as needed G. Unlock quick disconnect box H. Restore power supply I. Clean out intake cooling end of motor Machine Cleaning A. Wipe underneath of all suction cups on traverser and inspect for replacement Grease Points And Oil Replacement On Material Stocker A. Apply grease to chain on elevator assembly B. Grease roller follower on elevator assembly C. Grease drive bearings located on top of FMS D. Grease guide rail on elevator assembly E. Grease cam follower on shifter conveyor assembly F. Grease guide rail on shifter conveyor assembly F. Apply grease to chain on shifter conveyor assembly G. Replace oil in gear reduction gear box on top of FMS | 42444 | 42262.9993 | Quarterly | In-House Staff | Pablo Shaw | Jessica Salazar
Air Conditioner | test | 42450.9167 | 42330.9167 | Bi-Monthly | In-House Staff | Claudia Jarquin | Patty Ramirez
Air Handling Unit | test | 42450.9167 | 42330.9167 | Bi-Monthly | In-House Staff | Claudia Jarquin | Patty Ramirez
Air Conditioner | beta test | 42502.2083 | 42412.2083 | Quarterly | In-House Staff | Sam Lux | Jessica Salazar
Air Handling Unit | beta test | 42502.2083 | 42412.2083 | Quarterly | In-House Staff | Sam Lux | Jessica Salazar
Exhaust Fans | "[ ] Lubricate fan bearings, check for noise and vibration. [ ] Inspect fan wheel for dirt, deterioration and balance [ ] Inspect Belt if applicable, replace as required [ ] Lubricate motor bearings [ ] Check fan scroll for tightness [ ] Check and clean any inlet or discharge bird screens [ ] Check all electrical connections for tightness [ ] Inspect, clean and test controls [ ] Record motor amp and voltage readings in equipment [ ] Clean and paint the unit as required [ ] Record maintenance actions in equipment history." PERFORME THIS PM THE LIST OF ASSET GROUPS FOUND BELOW Asset_Description ALL Ecosystem Exhaust Fan for BLDG change to something else. CPM - Return Fan 01 CPM - Return Fan 02 CPM - Ecosystem Exhaust Fan 24*# CPM - Return Fan 03 CPM - Return Fan 04 | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Daniela Karina | Patty Ramirez
Air Handling Units | Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils. | 42443.9167 | 42324.9167 | Bi-Monthly | In-House Staff | Bharat Bhushan | Jessica Salazar
Lighting | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lighting | Mod 122 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lighting | copyMod 122 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Lighting | copyMod 507 Annual Inspection of the Kitchen Hood Fire Suppression System (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Lighting | Mod 507 Annual Inspection of the Kitchen Hood Fire Suppression System (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lighting | Mod 113 Annual Calibration of Pressure Differential Transmitters and Alarms (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lighting | Mod 107 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lighting | Copy Mod 122 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Lighting | Mod 108 Annual 90 Minute Test of Emergency Lighting (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lighting | Mod 113 Annual Calibration of Condensate Tank Level Controls (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | jane doe
Lighting | Monthly Fire Extinguisher Inspection. (See the Asset File Tab for the PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Lighting | Mod 507 Annual Sprinkler System Inspection and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Air Duct | 131321321 | 42564.9993 |  | Daily | 50 Plus Chars | 86 Chars | Ray Fuller
Air Duct | fdfdgdfg | 42486.9993 |  | Daily | 50 Plus Chars | MVC Vendor | Ray Fuller
Cameras | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Cameras | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Exhaust Fans | Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils. | 42438.9167 | 42431.9167 | Weekly | In-House Staff | Claudia Jarquin | Patty Ramirez
Unit Heaters | A air conditioning or heat pump compressor which compresses low pressure refrigerant gas into a high pressure, high temperature gas. Usually the compressor is in the outdoor portion of an air conditioning or heat pump system. The compressor is basically a high pressure pump driven by an electric motor. The air conditioning compressor is usually packaged in the outdoor compressor/condenser unit illustrated by our page top drawing. See COMPRESSOR CONDENSER, and see REFRIGERANTSAdditional Details Bring the following Equipment Wrench L Wrench | 42437.9167 | 42423 | Semi-Monthly | In-House Staff | Patty Ramirez | Patty Ramirez
Unit Heaters | Preventive Maintenance tasks | 42480.9167 | 42423 | Bi-Monthly | In-House Staff | Tony Gravett | Tony Gravett
Grease Traps | On your pump you will notice six large bolts. Inside of the holes are check valves with springs. After 300-500 hours you should change them. You can do this yourself. The valve kits are $60.000. It's very easy: Unscrew bolts Remove old valve Replace valve Make sure to seat the valve evenly Screw the bolt back in by hand Make sure the O-ring on the bolt is snug Tighten with wrench pretty tight Inspecting The Pump If you drain the oil and it's got bubbles in it or has turned white, then you have a blown seal and water is getting into the oil because: It overheated due to water starvation; The casing cracked because of vibration; You forgot to change the oil, dummy ($600 mistake and one lost day's work if you can get the parts that fast). Check to see if the belts are tight. If not tighten them. Look for water drips. A slow drip on the exit side of the pump could cost you as much as 150 PSI at the nozzle. A fast drip (two to three drops per second) could be a 250-300 PSI loss at the nozzle. A steady drip stream might be a 500 plus PSI loss. When you see water leaking, fix the leak ASAP. Be sure to use ample Teflon tape when re-tightening fittings. This will stop future leaks, prevent rust and make fittings easy to separate in the future. A hole in a hose or leak on the inlet side of the pump causes air to get in. The pump will act as if it's starving for water. It might even pulsate. When the water level in your tank reaches a point below the leak in the hose, air will replace the water and you'll get zero pressure. That makes it very hard to wash anything. Low pressure in the pump can be caused by a number of things; these are by far the most common, but this is not a complete list, generally if you go thru this list the problem will be solved, check the easiest things first such as water supply: Faulty pressure gauge (Replace) Out of water (Fill up tank) Old or worn out tip at gun nozzle (Replace) Incorrect tip (Remove and replace) Belt slippage (Tighten belt) Hose leaks (Fix leaks) Faulty unloader (Replace) Mis-adjusted unloader (Re-adjust) Worn packing in pump (Take it to dealer) Inline filter clogged with dirt (Clean it) Obstruction in spray nozzle tip (Remove it) Chemical metering valve sucking air (Turn it off) Slow engine rpm (Check engine) If you have a pulsating issue at the gun or the machine is Fluctuating pressure, this is a completely different problem than low pressure. You should check for: Worn piston packing (Call dealer). Pump sucking air (Fix hole), Blockage in valve (Remove, check valves and take out blockage). If it is fluctuating and very noisy or if your pump is only noisy check for: Air in suction line (Check water supply and connections) Broken or weak inlet or discharge valve springs (Call dealer) Excessive matter in valves (Check and clean if necessary) Worn bearings (Check and replace. If necessary, cal | 42454.9167 | 42274.9167 | Semi-Annually | In-House Staff | Patty Ramirez | Jessica Salazar
Exhaust Fans | Testing for 12/3 Holiday date feature Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils | 42523.9167 | 42431.9167 | Quarterly | NF Tester Gmail & FAX | Gmail User Primary FAX & E-mail. No login | Patty Ramirez
Exhaust Fans | Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils. | 42523.9583 | 42402.9583 | Tri-Annually | In-House Staff | Chris Hunter | Patty Ramirez
Air Handling Units | testing date of asset pm | 42434.8333 | 42429.8333 | Daily | In-House Staff | Gurvinder Singh | Ray Fuller
Air Handling Units | testing schedule date of asset pm 17 jan 11 pm | 42434.9167 | 42429.9167 | Daily | In-House Staff | Gurvinder Singh | Ray Fuller
Exhaust Fans | Safety Inspection A. Make sure guards are in place and in good working order B. Check safety switches for proper operation Air Lines And Fittings A. Inspect all air lines and repair or replace as needed Electrical Inspection A. Turn power supply off B. Lock out quick disconnect box C. Check for worn or broken cords D. Check for loose conduit E. Check power supply box for any malfunction, repair as needed F. Check electrical panel lights, change burn out bulbs as needed G. Unlock quick disconnect box H. Restore power supply I. Clean out intake cooling end of motor Machine Cleaning A. Wipe underneath of all suction cups on traverser and inspect for replacement Grease Points And Oil Replacement On Material Stocker A. Apply grease to chain on elevator assembly B. Grease roller follower on elevator assembly C. Grease drive bearings located on top of FMS D. Grease guide rail on elevator assembly E. Grease cam follower on shifter conveyor assembly F. Grease guide rail on shifter conveyor assembly F. Apply grease to chain on shifter conveyor assembly G. Replace oil in gear reduction gear box on top of FMS | 42436.9167 | 42408.9167 | Monthly | In-House Staff | Chris Hunter | Patty Ramirez
Fan Coil | test | 42437.9167 | 42423.9167 | Bi-Weekly | In-House Staff | Claudia Jarquin | Patty Ramirez
Fan Coil | 1. Inspect and clean blower assembly (includes blower housing, blower wheel and motor) 2. On older models, lubricate motor and inspect and replace fan belt if needed 3. Check combustion blower housing for lint and debris and clean as necessary 4.Inspect evaporator coil, drain pan and condensate drain lines. Clean as needed 5. Inspect for gas leaks in gas furnaces 6. Inspect burner assembly—clean and adjust as needed 7. Inspect ignition system and safety controls—clean and adjust as needed 8. Inspect heat exchanger or heating elements 9. Inspect flue system—check for proper attachment to the furnace, any dislocated sections, and for signs of corrosion. Replace if necessary 10. Inspect control box, associated controls, wiring and connections 11. Clean or replace air filters | 42443.9167 | 42429.9167 | Bi-Weekly | 6098 | Customer Service | Patty Ramirez
Fan Coil | Preventative Maintenance: Check unit for noise and vibration. Check V-belt condition and tension. Adjust if needed, or replace. Clean and wash permanent filters. Recharge wire mesh filters with oil. Replace disposal filters. Drain and clean condensate pan. Lubricate fan shaft bearings (if not sealed). Lubricate motor bearings sparingly using SAE 10W motor oil (if not sealed). Clean coils by vacuuming or brushing. Use fin comb to straighten coil fins. Clean strainers for accumulation of dirt. Check controls, trap, freeze-stat, and control-stat for proper operation. Clean fan blades and interior unit surfaces to remove soil. Damp wipe exterior surfaces. Clean surrounding area, record results and findings and report any needed repairs or operational adjustments. Safety Warnings or Special Precautions: Obtain and review manufacturer's instructions. Follow manufacturer’s instructions or procedures if different to these instructions or procedures. De-energize, lockout, and tag the electrical circuits. Review Standard Operating Procedures for Selection, Care, and Use of Respiratory Protection. Tools & Materials Required: Standard and Phillips head screw drivers-various sizes; Pliers-vise grip (2), slipjoint, needlenose, diagonal; cutting pliers, side cutters; Ball peen hammer; Hack saw and spare blades; 3/8' drive socket set and ratchet; Small set of Allen wrenches; Assorted center punches, drift punches, and steel chisel; 12' measuring tape; Crescent wrenches 4" to 8"; Open and box end wrenches ¼" to ¾"; File; Pipe wrenches to 14"; Small level and square; Pocket knife; Flashlights; Grease guns and oilers; Wire brush; Extension cord and inspection lights; Various cleaning tools - brushes, scrapers, etc; Emery cloth. Refrigeration – gauges; Leak detector-electronic or halogen; Pocket thermometer; Clamp on meter (volt - ohm - amp meter); Flaring tool; Tubing cutters; Packing kit and packing; Crescent wrenches to 14" | 42492.25 | 42401.25 | Quarterly | In-House Staff | Juan Gonazales | Patty Ramirez
Fan Coil | Testing for 12/3 Holiday date feature saving it twice Check unit for noise and vibration. Check V-belt condition and tension. Adjust if needed, or replace. Clean and wash permanent filters. Recharge wire mesh filters with oil. Replace disposal filters. Drain and clean condensate pan. Lubricate fan shaft bearings (if not sealed). Lubricate motor bearings sparingly using SAE 10W motor oil (if not sealed). Clean coils by vacuuming or brushing. Use fin comb to straighten coil fins. Clean strainers for accumulation of dirt. Check controls, trap, freeze-stat, and control-stat for proper operation. Clean fan blades and interior unit surfaces to remove soil. Damp wipe exterior surfaces. Clean surrounding area, record results and findings and report any needed repairs or operational adjustments. Safety Warnings or Special Precautions: Obtain and review manufacturer's instructions. Follow manufacturer’s instructions or procedures if different to these instructions or procedures. De-energize, lockout, and tag the electrical circuits. Review Standard Operating Procedures for Selection, Care, and Use of Respiratory Protection. Tools & Materials Required: Standard and Phillips head screw drivers-various sizes; Pliers-vise grip (2), slipjoint, needlenose, diagonal; cutting pliers, side cutters; Ball peen hammer; Hack saw and spare blades; 3/8' drive socket set and ratchet; Small set of Allen wrenches; Assorted center punches, drift punches, and steel chisel; 12' measuring tape; Crescent wrenches 4" to 8"; Open and box end wrenches ¼" to ¾"; File; Pipe wrenches to 14"; Small level and square; Pocket knife; Flashlights; Grease guns and oilers; Wire brush; Extension cord and inspection lights; Various cleaning tools - brushes, scrapers, etc; Emery cloth. Refrigeration – gauges; Leak detector-electronic or halogen; Pocket thermometer; Clamp on meter (volt - ohm - amp meter); Flaring tool; Tubing cutters; Packing kit and packing; Crescent wrenches to 14" | 42450.9167 | 42331.9167 | Tri-Annually | In-House Staff | Patty Ramirez | Patty Ramirez
Grease Traps | Preventative Maintenance: Check with operating or area personnel for deficiencies. Bail out any water in the trap or interceptor to facilitate cleaning. The water should be discharged to the sanitary sewer system. Remove baffles if possible. Dip the accumulated grease out of the interceptor and deposit in a watertight container. Scrape the sides, the lid, and the baffles with a putty knife to remove as much of the grease as possible, and deposit the grease into a watertight container. Check flow restrictor and baffles Replace the baffle and the lid. Record the volume of grease removed on the maintenance log. Clean surrounding area, record results and findings and report any needed repairs or operational adjustments. Safety Warnings or Special Precautions: Obtain and review manufacturer's instructions. Follow manufacturer’s instructions or procedures if different to these instructions or procedures. Tools & Materials Required: Standard and Phillips head screw drivers-various sizes; Pliers-vise grip (2), slipjoint, needlenose, diagonal; cutting pliers, side cutters; Ball peen hammer; Hack saw and spare blades; 3/8' drive socket set and ratchet; Small set of Allen wrenches; Assorted center punches, drift punches, and steel chisel; 12' measuring tape; Crescent wrenches 4" to 8"; Open and box end wrenches ¼" to ¾"; File; Pipe wrenches to 14"; Small level and square; Pocket knife; Flashlights; Grease guns and oilers; Wire brush; Extension cord and inspection lights; Various cleaning tools - brushes, scrapers, etc; Emery cloth. Pipe wrenches to 24"; Tubing cutters; Flaring tool; Small acetylene outfit; Packing tool kit and packing; ¾" socket set Crescent wrenches to 14" Suitable Watertight Container Cleaning equipment and materials. Lubricants. Safety goggles. Gloves. Consult the MSDS for hazardous ingredients and proper PPE | 42765.25 | 42032.25 | Annually | In-House Staff | Sam Lux | Puma Limb
HVAC | hello | 42448.9993 |  | Weekly | 50 Plus Chars | 86 Chars | Ray Fuller
Power Washers | testing start time | 42434.7083 | 42429.7083 | Daily | In-House Staff | Ray Fuller | Ray Fuller
Power Washers | test next date | 2 |  | Reading 1: 235.00 | In-House Staff | Ray Fuller | Ray Fuller
Power Washers | Testing the Live Site!!!!! | 42149.9792 | 42148.9792 | Daily | In-House Staff | Julio Gonzalez | Gage LeBreton
Stairclimbing | Mod 113 Annual Fire and Gas Calibraton and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Stairclimbing | Annual Manual Valve Inspection and Maintenance Tank Farm (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Stairclimbing | Mod 107 Annual Fine Water Mist Function Check and Maintenance (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Elliptical Machines | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Elliptical Machines | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Elliptical Machines | Annual Emergency Lighting 90 Minute Test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Elliptical Machines | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Elliptical Machines | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42585.2083 | 42403.2083 | Semi-Annually | In-House Staff | Jason Household | Sunny Goyal
Elliptical Machines | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task) . | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Elliptical Machines | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Elliptical Machines | Annual Calibration of Mod 113 PLC Based Room Temperature Controls (See the Asset File tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Exit Sign | Mod 508 Annual Sprinkler System Inspection and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Exit Sign | Mod 113 Inspection of Communications Tower Summer Work after winter ice and snow storms (See the Asset File Tab for the PM task) | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Vehicles | Disconnects have proper covers & covers closed &fastened All seal tight & properly fitted No flexible cords taped or showing signs of wear No exposed wires on equipment Emergency stop devices work All controls function properly Indicator lamps operating Electrical cords do not hang on pipes, nails, hooks Unused openings are plugged No cords pass through walls, ceiling, doors or windows switches & circuit breakers labeled Electrical panels accessible | 42443.9167 | 42429.9167 | Bi-Weekly | In-House Staff | aman deep | Patty Ramirez
Vehicles | Testing for 12/3 Holiday date feature Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils. | 42437.9167 | 42430.9167 | Weekly | In-House Staff | Chris Hunter | Patty Ramirez
Vehicles | /assets/assetdetail.aspx | 42755.9167 | 42024.9167 | Annually | In-House Staff | Pablo Shaw | Patty Ramirez
Vehicles | test 2 / 13/2015 | 42443.125 | 42415.125 | Monthly | In-House Staff | Patty Ramirez | Patty Ramirez
Vehicles | test adding information | 2 | 42298.3438 | Mileage: 500.00 | In-House Staff | Jessica Salazar | Patty Ramirez
Group Cycles | Mod 108 Annual Calibration of Diesel Tanks Level Instruments (See the Asset File Tab for the PM task). | 42585.2083 | 42403.2083 | Semi-Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Monthly service of the Gasoline Tank Leak Detection System (See the Asset File Tab for the PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Group Cycles | Mod 507 Monthly Inspection of the Hood Fire Suppression system (See the Asset File Tab for the PM daily signoff to be posted for daily signoff). Mod 507 Monthly Inspection of the Hood Fire Suppression system (See the Asset File Tab for the PM daily signoff to be posted for daily signoff). | 42611.2917 | 42429.2917 | Semi-Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Mod 508 Monthly Inspection Stationary Shower/Eyewash Station (See the Asset File Tab for the PM task). | 42464.2917 | 42432.2917 | Monthly | In-House Staff | Jason Household | Mike Rotch
Group Cycles | Mod 128 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Mod 121 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Mod 125 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Mod 124 Airstrip Annual Fire and Gas Calibration and Check (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Annual Calibration and Function Test of the ESD system (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42585.2083 | 42403.2083 | Semi-Annually | In-House Staff | Jason Household | Sunny Goyal
Group Cycles | Mod 113 Monthly Eyewash Station Service (See the Asset File Tab for the PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Group Cycles | Mod 403 Badami Monthly Eyewash Station Maintenance (See the Asset File Tab for the PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Stairclimbing | Monthly Fire Extnguisher Inspection (see the file tab on the Asset page for the PM task) | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Stairclimbing | Annual Mod 107, 108 and 109 SDV valve Inspection and Service (See the Asset File tab for the PM task). | 42585.2083 | 42403.2083 | Semi-Annually | In-House Staff | Jason Household | Sunny Goyal
Air Handling Units | 1. Inspect all eleven spill kits. 2. They must be in the assigned area and in good condition. 3. The kits must be filled with the correct supplies. 4. All spill kits must have socks, pads, gloves and disposal bags. 5. A face shield should be included in areas near fuels and chemicals. KIT INVENTORY ABSORBENT SOCKS - OIL DRY - ABSORBENT PADS - GLOVES - FACE SHIELD SK-1 [_____] - [_____] - [_____] - [_____]- [_____] SK-2 [_____] - [_____] - [_____] - [_____]- [_____] SK-3 [_____] - [_____] - [_____] - [_____]- [_____] SK-4 [_____] - [_____] - [_____] - [_____]- [_____] SK-5 [_____] - [_____] - [_____] - [_____]- [_____] SK-6 [_____] - [_____] - [_____] - [_____]- [_____] SK-7 [_____] - [_____] - [_____] - [_____]- [_____] SK-8 [_____] - [_____] - [_____] - [_____]- [_____] SK-9 [_____] - [_____] - [_____] - [_____]- [_____] SK-10 [_____] - [_____] - [_____] - [_____]- [_____] SK-11 [_____] - [_____] - [_____] - [_____]- [_____] | 42457.9167 | 42428.9167 | Monthly | In-House Staff | Juan Gonazales | Patty Ramirez
Air Handling Units | On your pump you will notice six large bolts. Inside of the holes are check valves with springs. After 300-500 hours you should change them. You can do this yourself. The valve kits are $60.000. It's very easy: Unscrew bolts Remove old valve Replace valve Make sure to seat the valve evenly Screw the bolt back in by hand Make sure the O-ring on the bolt is snug Tighten with wrench pretty tight Inspecting The Pump If you drain the oil and it's got bubbles in it or has turned white, then you have a blown seal and water is getting into the oil because: It overheated due to water starvation; The casing cracked because of vibration; You forgot to change the oil, dummy ($600 mistake and one lost day's work if you can get the parts that fast). Check to see if the belts are tight. If not tighten them. Look for water drips. A slow drip on the exit side of the pump could cost you as much as 150 PSI at the nozzle. A fast drip (two to three drops per second) could be a 250-300 PSI loss at the nozzle. A steady drip stream might be a 500 plus PSI loss. When you see water leaking, fix the leak ASAP. Be sure to use ample Teflon tape when re-tightening fittings. This will stop future leaks, prevent rust and make fittings easy to separate in the future. A hole in a hose or leak on the inlet side of the pump causes air to get in. The pump will act as if it's starving for water. It might even pulsate. When the water level in your tank reaches a point below the leak in the hose, air will replace the water and you'll get zero pressure. That makes it very hard to wash anything. Low pressure in the pump can be caused by a number of things; these are by far the most common, but this is not a complete list, generally if you go thru this list the problem will be solved, check the easiest things first such as water supply: Faulty pressure gauge (Replace) Out of water (Fill up tank) Old or worn out tip at gun nozzle (Replace) Incorrect tip (Remove and replace) Belt slippage (Tighten belt) Hose leaks (Fix leaks) Faulty unloader (Replace) Mis-adjusted unloader (Re-adjust) Worn packing in pump (Take it to dealer) Inline filter clogged with dirt (Clean it) Obstruction in spray nozzle tip (Remove it) Chemical metering valve sucking air (Turn it off) Slow engine rpm (Check engine) If you have a pulsating issue at the gun or the machine is Fluctuating pressure, this is a completely different problem than low pressure. You should check for: Worn piston packing (Call dealer). Pump sucking air (Fix hole), Blockage in valve (Remove, check valves and take out blockage). If it is fluctuating and very noisy or if your pump is only noisy check for: Air in suction line (Check water supply and connections) Broken or weak inlet or discharge valve springs (Call dealer) Excessive matter in valves (Check and clean if necessary) Worn bearings (Check and replace. If necessary, cal | 42437.9167 | 42430.9167 | Weekly | In-House Staff | Puma Limb | Patty Ramirez
Air Handling Units | On your pump you will notice six large bolts. Inside of the holes are check valves with springs. After 300-500 hours you should change them. You can do this yourself. The valve kits are $60.000. It's very easy: Unscrew bolts Remove old valve Replace valve Make sure to seat the valve evenly Screw the bolt back in by hand Make sure the O-ring on the bolt is snug Tighten with wrench pretty tight Inspecting The Pump If you drain the oil and it's got bubbles in it or has turned white, then you have a blown seal and water is getting into the oil because: It overheated due to water starvation; The casing cracked because of vibration; You forgot to change the oil, dummy ($600 mistake and one lost day's work if you can get the parts that fast). Check to see if the belts are tight. If not tighten them. Look for water drips. A slow drip on the exit side of the pump could cost you as much as 150 PSI at the nozzle. A fast drip (two to three drops per second) could be a 250-300 PSI loss at the nozzle. A steady drip stream might be a 500 plus PSI loss. When you see water leaking, fix the leak ASAP. Be sure to use ample Teflon tape when re-tightening fittings. This will stop future leaks, prevent rust and make fittings easy to separate in the future. A hole in a hose or leak on the inlet side of the pump causes air to get in. The pump will act as if it's starving for water. It might even pulsate. When the water level in your tank reaches a point below the leak in the hose, air will replace the water and you'll get zero pressure. That makes it very hard to wash anything. Low pressure in the pump can be caused by a number of things; these are by far the most common, but this is not a complete list, generally if you go thru this list the problem will be solved, check the easiest things first such as water supply: Faulty pressure gauge (Replace) Out of water (Fill up tank) Old or worn out tip at gun nozzle (Replace) Incorrect tip (Remove and replace) Belt slippage (Tighten belt) Hose leaks (Fix leaks) Faulty unloader (Replace) Mis-adjusted unloader (Re-adjust) Worn packing in pump (Take it to dealer) Inline filter clogged with dirt (Clean it) Obstruction in spray nozzle tip (Remove it) Chemical metering valve sucking air (Turn it off) Slow engine rpm (Check engine) If you have a pulsating issue at the gun or the machine is Fluctuating pressure, this is a completely different problem than low pressure. You should check for: Worn piston packing (Call dealer). Pump sucking air (Fix hole), Blockage in valve (Remove, check valves and take out blockage). If it is fluctuating and very noisy or if your pump is only noisy check for: Air in suction line (Check water supply and connections) Broken or weak inlet or discharge valve springs (Call dealer) Excessive matter in valves (Check and clean if necessary) Worn bearings (Check and replace. If necessary, cal | 42444.9167 | 42429.9167 | Semi-Monthly | In-House Staff | Puma Limb | Patty Ramirez
Air Handling Units | A air conditioning or heat pump compressor which compresses low pressure refrigerant gas into a high pressure, high temperature gas. Usually the compressor is in the outdoor portion of an air conditioning or heat pump system. The compressor is basically a high pressure pump driven by an electric motor. The air conditioning compressor is usually packaged in the outdoor compressor/condenser unit illustrated by our page top drawing. See COMPRESSOR CONDENSER, and see REFRIGERANTS | 42453.9167 | 42271.9167 | Quarterly | In-House Staff | Jason Household | Patty Ramirez
Air Handling Units | Disconnects have proper covers & covers closed &fastened All seal tight & properly fitted No flexible cords taped or showing signs of wear No exposed wires on equipment Emergency stop devices work All controls function properly Indicator lamps operating Electrical cords do not hang on pipes, nails, hooks Unused openings are plugged No cords pass through walls, ceiling, doors or windows switches & circuit breakers labeled Electrical panels accessible | 42548.9167 | 42183.9167 | Annually | In-House Staff | Julio Gonzalez | Patty Ramirez
Air Handling Units | Check for leaks, check floater, check seals, check seat attachments | 42486.9167 | 42428.9167 | Bi-Monthly | In-House Staff | Julio Gonzalez | Patty Ramirez
Air Handling Units | Safety Inspection A. Make sure guards are in place and in good condition Air Lines and Fittings A. Check all air line pipes and fittings for leaks, repair as necessary Electrical Inspection A. Turn off power supply B. Lock out quick disconnect box per Jacobsen Lock Out Tag Out Plan C. Check for loose conduit D. Open cabinet, check for loose connections E. Unlock quick disconnect box, and restore power supply Worn and Broken Parts A. Inspect machine for any worn out part, repair as necessary Coil Cleaning A. Use coil cleaner and water to clean coils. | 42548.9167 | 42428.9167 | Tri-Annually | In-House Staff | Jason Household | Patty Ramirez
Air Handling Units | 1. Inspect and clean blower assembly (includes blower housing, blower wheel and motor) 2. On older models, lubricate motor and inspect and replace fan belt if needed 3. Check combustion blower housing for lint and debris and clean as necessary 4.Inspect evaporator coil, drain pan and condensate drain lines. Clean as needed 5. Inspect for gas leaks in gas furnaces 6. Inspect burner assembly—clean and adjust as needed 7. Inspect ignition system and safety controls—clean and adjust as needed 8. Inspect heat exchanger or heating elements 9. Inspect flue system—check for proper attachment to the furnace, any dislocated sections, and for signs of corrosion. Replace if necessary 10. Inspect control box, associated controls, wiring and connections 11. Clean or replace air filters 12.Inspect conditioned airflow system (ductwork)—check for leaks | 42149.25 | 42121.25 | Monthly | In-House Staff | Jason Household | Patty Ramirez
Air Handling Units | Investigate and evaluate moisture and mold problems Assess size of moldy area (square feet) Consider the possibility of hidden mold Clean up small mold problems and fix moisture problems before they become large problems Select remediation manager for medium or large size mold problem Investigate areas associated with occupant complaints Identify source(s) or cause of water or moisture problem(s) Note type of water-damaged materials (wallboard, carpet, etc.) Check inside air ducts and air handling unit Throughout process, consult qualified professional if necessary or desired Communicate with building occupants at all stages of process, as appropriate Designate contact person for questions and comments about medium or large scale remediation as needed Plan Remediation Adapt or modify remediation guidelines to fit your situation; use professional judgment Plan to dry wet, non-moldy materials within 48 hours to prevent mold growth Select cleanup methods for moldy items (see Table 2 and text) Select Personal Protection Equipment - protect remediators (see Table 2 and Select containment equipment - protect building, occupants (see Table 2 and Select remediation personnel who have the experience and training needed to implement the remediation plan and use Personal Protective Equipment and containment as appropriate Remediate moisture and mold problems Fix moisture problem, implement repair plan and/or maintenance plan Dry wet, non-moldy materials within 48 hours to prevent mold growth Clean and dry mold materials (see Table 2 and text) Discard moldy porous items that can't be cleaned (see Table 2 and text) | 42452 | 42394.9993 | Bi-Monthly | In-House Staff | Jason Household | Patty Ramirez
Fan Coil | Set the thermostat as high as comfort will permit. Make sure attics are adequately ventilated to relieve heat buildup. If necessary, improve airflow by adding or enlarging vents. When building a new house or renovating an old one, choose light-colored roof shingles to reflect more of the sun's heat. During moderate weather, don't use the air conditioner unnecessarily. Draw blinds or drapes to block the sunlight during the hottest part of the day. Install awnings over windows exposed to direct sunlight. In the cooling season, don't run kitchen and bath exhaust fans longer than necessary. Don't place lamps, TV sets or other heat-producing devices beneath a wall-mounted thermostat. Rising heat from that equipment may cause the air conditioning system to overcool your house. | 42452 | 42331.9993 | Tri-Annually | In-House Staff | Jason Household | Puma Limb
Unit Heaters | A condenser or condensing unit: typically a condensing coil inside which high temperature high pressure refrigerant gas flows, and over which a fan blows air to cool the refrigerant gas back to a liquid state (thus transferring heat from the refrigerant gas to the air being blown by the fan). The condenser unit is basically a coil of finned tubing and a fan to blow air across the coil. Usually the condenser unit is in the outdoor portion of an air conditioning system, often packaged along with the compressor motor discussed above. See COMPRESSOR CONDENSER and see our page top sketch too. The change of state of the refrigerant, from hot high pressure gas to a liquid releases heat, including heat collected inside the building) to the outdoors | 42439.25 | 42348.25 | Quarterly | In-House Staff | Patty Ramirez | Gage LeBreton
Unit Heaters | 1. Inspect and clean blower assembly (includes blower housing, blower wheel and motor)2. On older models, lubricate motor and inspect and replace fan belt if needed3. Check combustion blower housing for lint and debris and clean as necessary 4.Inspect evaporator coil, drain pan and condensate drain lines. Clean as needed 5. Inspect for gas leaks in gas furnaces 6. Inspect burner assembly—clean and adjust as needed 7. Inspect ignition system and safety controls—clean and adjust as needed 8. Inspect heat exchanger or heating elements 9. Inspect flue system—check for proper attachment to the furnace, any dislocated sections, and for signs of corrosion. Replace if necessary 10. Inspect control box, associated controls, wiring and connections 11. Clean or replace air filters 12.Inspect conditioned airflow system (ductwork)—check for leaks1. Inspect and clean blower assembly (includes blower housing, blower wheel and motor)2. On older models, lubricate motor and inspect and replace fan belt if needed3. Check combustion blower housing for lint and debris and clean as necessary 4.Inspect evaporator coil, drain pan and condensate drain lines. Clean as needed 5. Inspect for gas leaks in gas furnaces 6. Inspect burner assembly—clean and adjust as needed 7. Inspect ignition system and safety controls—clean and adjust as needed 8. Inspect heat exchanger or heating elements 9. Inspect flue system—check for proper attachment to the furnace, any dislocated sections, and for signs of corrosion. Replace if necessary 10. Inspect control box, associated controls, wiring and connections 11. Clean or replace air filters 12.Inspect conditioned airflow system (ductwork)—check for leaks1. Inspect and clean blower assembly (includes blower housing, blower wheel and motor)2. On older models, lubricate motor and inspect and replace fan belt if needed3. Check combustion blower housing for lint and debris and clean as necessary 4.Inspect evaporator coil, drain pan and condensate drain lines. Clean as needed 5. Inspect for gas leaks in gas furnaces 6. Inspect burner assembly—clean and adjust as needed 7. Inspect ignition system and safety controls—clean and adjust as needed 8. Inspect heat exchanger or heating elements 9. Inspect flue system—check for proper attachment to the furnace, any dislocated sections, and for signs of corrosion. Replace if necessary 10. Inspect control box, associated controls, wiring and connections 11. Clean or replace air filters 12.Inspect conditioned airflow system (ductwork)—check for leaks1. Inspect and clean blower assembly (includes blower housing, blower wheel and motor)2. On older models, lubricate motor and inspect and replace fan belt if needed3. Check combustion blower housing for lint and debris and clean as necessary 4.Inspect evaporator coil, drain pan and condensate drain lines. Clean as needed 5. Inspect for gas leaks in gas furnaces 6. Inspect burner assembly—clean and adjust as needed 7. Inspect ignition system and safety controls | 42149.5833 | 42088.5833 | Bi-Monthly | In-House Staff | Patty Ramirez | Gage LeBreton
Unit Heaters | A condenser or condensing unit: typically a condensing coil inside which high temperature high pressure refrigerant gas flows, and over which a fan blows air to cool the refrigerant gas back to a liquid state (thus transferring heat from the refrigerant gas to the air being blown by the fan). The condenser unit is basically a coil of finned tubing and a fan to blow air across the coil. Usually the condenser unit is in the outdoor portion of an air conditioning system, often packaged along with the compressor motor discussed above. See COMPRESSOR CONDENSER and see our page top sketch too. The change of state of the refrigerant, from hot high pressure gas to a liquid releases heat, including heat collected inside the building) to the outdoors | 42149.25 | 42030.25 | Tri-Annually | In-House Staff | Julio Gonzalez | Jessica Salazar
Fan Coil | copyMod 122 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2917 | 41673.2917 | Annually | Plumbing company | MIke Smith | Mike Rotch
Fan Coil | Disconnects have proper covers & covers closed &fastened All seal tight & properly fitted No flexible cords taped or showing signs of wear No exposed wires on equipment Emergency stop devices work All controls function properly Indicator lamps operating Electrical cords do not hang on pipes, nails, hooks Unused openings are plugged No cords pass through walls, ceiling, doors or windows switches & circuit breakers labeled Electrical panels accessible | 42506 | 42415.9993 | Quarterly | In-House Staff | Jason Household | Jessica Salazar
Unit Heaters | test | 42464.125 | 42433.125 | Monthly | In-House Staff | Claudia Jarquin | Patty Ramirez
Fire Protection Equipment | Attachment B – Sewage Pump/Ejector Stations Checklist 1. Sewage Pump Stations a. Sewage Pumping Units b. Pump Control System c. Alarm/Auto-Dialer Systems d. Wet Well Compartment e. Dry Well Compartment f. Pump Intake/Discharge Piping g. Valve Chamber h. Pump Isolation/Check Valves i. Sewer Force Main Piping j. Air/Vacuum Release Structures k. Emergency Storage Tank l. Emergency Power Generator 2. Sewage Ejector Stations a. Pneumatic Ejector Units b. Ejector Control System c. Air Compressors d. Sewage Ejector Station Vault e. Alarm/Auto-Dialer Systems f. Ejector Intake/Discharge Piping g. Ejector Isolation/Check Valves h. Sewer Force Main Piping i. Emergency Storage Tank j. Emergency Power Generator | 42450 | 42327.9993 | Tri-Annually | In-House Staff | Julio Gonzalez | Puma Limb
Fire Protection Equipment | Test PM | 42514.125 | 42424.125 | Quarterly | In-House Staff | Tony Gravett | Tony Gravett
Fire Protection Equipment | Disconnects have proper covers & covers closed &fastened add more All seal tight & properly fitted No flexible cords taped or showing signs of wear No exposed wires on equipment Emergency stop devices work All controls function properly Indicator lamps operating Electrical cords do not hang on pipes, nails, hooks Unused openings are plugged No cords pass through walls, ceiling, doors or windows switches & circuit breakers labeled Electrical panels accessible | 42443 | 42426.9993 | Semi-Monthly | In-House Staff | Patty Ramirez | Puma Limb
Grease Traps | Preventative Maintenance: Check with operating or area personnel for deficiencies. Bail out any water in the trap or interceptor to facilitate cleaning. The water should be discharged to the sanitary sewer system. Remove baffles if possible. Dip the accumulated grease out of the interceptor and deposit in a watertight container. Scrape the sides, the lid, and the baffles with a putty knife to remove as much of the grease as possible, and deposit the grease into a watertight container. Check flow restrictor and baffles Replace the baffle and the lid. Record the volume of grease removed on the maintenance log. Clean surrounding area, record results and findings and report any needed repairs or operational adjustments. Safety Warnings or Special Precautions: Obtain and review manufacturer's instructions. Follow manufacturer’s instructions or procedures if different to these instructions or procedures. Tools & Materials Required: Standard and Phillips head screw drivers-various sizes; Pliers-vise grip (2), slipjoint, needlenose, diagonal; cutting pliers, side cutters; Ball peen hammer; Hack saw and spare blades; 3/8' drive socket set and ratchet; Small set of Allen wrenches; Assorted center punches, drift punches, and steel chisel; 12' measuring tape; Crescent wrenches 4" to 8"; Open and box end wrenches ¼" to ¾"; File; Pipe wrenches to 14"; Small level and square; Pocket knife; Flashlights; Grease guns and oilers; Wire brush; Extension cord and inspection lights; Various cleaning tools - brushes, scrapers, etc; Emery cloth. Pipe wrenches to 24"; Tubing cutters; Flaring tool; Small acetylene outfit; Packing tool kit and packing; ¾" socket set Crescent wrenches to 14" Suitable Watertight Container Cleaning equipment and materials. Lubricants. Safety goggles. Gloves. Consult the MSDS for hazardous ingredients and proper PPE | 42578.25 | 42396.25 | Semi-Annually | In-House Staff | Jason Household | Puma Limb
Grease Traps | Preventative Maintenance: Check with operating or area personnel for deficiencies. Bail out any water in the trap or interceptor to facilitate cleaning. The water should be discharged to the sanitary sewer system. Remove baffles if possible. Dip the accumulated grease out of the interceptor and deposit in a watertight container. Scrape the sides, the lid, and the baffles with a putty knife to remove as much of the grease as possible, and deposit the grease into a watertight container. Check flow restrictor and baffles Replace the baffle and the lid. Record the volume of grease removed on the maintenance log. Clean surrounding area, record results and findings and report any needed repairs or operational adjustments. Safety Warnings or Special Precautions: Obtain and review manufacturer's instructions. Follow manufacturer’s instructions or procedures if different to these instructions or procedures. Tools & Materials Required: Standard and Phillips head screw drivers-various sizes; Pliers-vise grip (2), slipjoint, needlenose, diagonal; cutting pliers, side cutters; Ball peen hammer; Hack saw and spare blades; 3/8' drive socket set and ratchet; Small set of Allen wrenches; Assorted center punches, drift punches, and steel chisel; 12' measuring tape; Crescent wrenches 4" to 8"; Open and box end wrenches ¼" to ¾"; File; Pipe wrenches to 14"; Small level and square; Pocket knife; Flashlights; Grease guns and oilers; Wire brush; Extension cord and inspection lights; Various cleaning tools - brushes, scrapers, etc; Emery cloth. Pipe wrenches to 24"; Tubing cutters; Flaring tool; Small acetylene outfit; Packing tool kit and packing; ¾" socket set Crescent wrenches to 14" Suitable Watertight Container Cleaning equipment and materials. Lubricants. Safety goggles. Gloves. Consult the MSDS for hazardous ingredients and proper PPE | 42457.25 | 42397.25 | Bi-Monthly | XXZoneCast VendorXX | Ramon Fuller | Patty Ramirez
Grease Traps | Preventative Maintenance: Check with operating or area personnel for deficiencies. Bail out any water in the trap or interceptor to facilitate cleaning. The water should be discharged to the sanitary sewer system. Remove baffles if possible. Dip the accumulated grease out of the interceptor and deposit in a watertight container. Scrape the sides, the lid, and the baffles with a putty knife to remove as much of the grease as possible, and deposit the grease into a watertight container. Check flow restrictor and baffles Replace the baffle and the lid. Record the volume of grease removed on the maintenance log. Clean surrounding area, record results and findings and report any needed repairs or operational adjustments. Safety Warnings or Special Precautions: Obtain and review manufacturer's instructions. Follow manufacturer’s instructions or procedures if different to these instructions or procedures. Tools & Materials Required: Standard and Phillips head screw drivers-various sizes; Pliers-vise grip (2), slipjoint, needlenose, diagonal; cutting pliers, side cutters; Ball peen hammer; Hack saw and spare blades; 3/8' drive socket set and ratchet; Small set of Allen wrenches; Assorted center punches, drift punches, and steel chisel; 12' measuring tape; Crescent wrenches 4" to 8"; Open and box end wrenches ¼" to ¾"; File; Pipe wrenches to 14"; Small level and square; Pocket knife; Flashlights; Grease guns and oilers; Wire brush; Extension cord and inspection lights; Various cleaning tools - brushes, scrapers, etc; Emery cloth. Pipe wrenches to 24"; Tubing cutters; Flaring tool; Small acetylene outfit; Packing tool kit and packing; ¾" socket set Crescent wrenches to 14" Suitable Watertight Container Cleaning equipment and materials. Lubricants. Safety goggles. Gloves. Consult the MSDS for hazardous ingredients and proper PPE | 42765.9993 | 42397.9993 | Annually | In-House Staff | Jason Household | Puma Limb
Pumps | Monthly Performance Checks The following procedures should be performed at least monthly.  Pump Shift Unit 1. Engage the pump per the transmission operating instructions. 2. Check all shift indicating lights for proper operation.  Transfer Valve Actuator 1. (Model CP-3 pumps only) Add 1 oz. of calcium-based water pump grease through lube fitting. 2. With the pump at idle, operate the transfer valve between pressure (series) and volume (parallel) for at least two cycles. 3. Check all indicating lights for proper operation.  Discharge Relief Valve System 1. Increase the pump discharge pressure to 150 psi. 2. With the pilot valve OFF, remove the strainer assembly. Clean the strainer and the orifice in the end of the rod. 3. Cover the strainer opening with your hand and slowly turn the pilot valve ON and OFF several times. Water should flow from the strainer opening in the ON position and the relief valve should open (amber light). Water flow should stop and the relief valve should close (green light) in the OFF position. 4. Check the strainer O-rings and replace if required; replace the strainer assembly (hand-tight only). 5. With the pilot valve OFF, turn the pressure adjustment handle counterclockwise until it stops. | 42440.25 | 42426.25 | Bi-Weekly | In-House Staff | Jason Household | Puma Limb
Power Washers | Safety Inspection A. Make sure guards are in place and in good working order B. Check safety switches for proper operation Air Lines And Fittings A. Inspect all air lines and repair or replace as needed Electrical Inspection A. Turn power supply off B. Lock out quick disconnect box C. Check for worn or broken cords D. Check for loose conduit E. Check power supply box for any malfunction, repair as needed F. Check electrical panel lights, change burn out bulbs as needed G. Unlock quick disconnect box H. Restore power supply I. Clean out intake cooling end of motor Machine Cleaning A. Wipe underneath of all suction cups on traverser and inspect for replacement Grease Points And Oil Replacement On Material Stocker A. Apply grease to chain on elevator assembly B. Grease roller follower on elevator assembly C. Grease drive bearings located on top of FMS D. Grease guide rail on elevator assembly E. Grease cam follower on shifter conveyor assembly F. Grease guide rail on shifter conveyor assembly F. Apply grease to chain on shifter conveyor assembly G. Replace oil in gear reduction gear box on top of FMS | 42437.5833 | 42408.5833 | Monthly | In-House Staff | Julio Gonzalez | Jason Household
Power Washers | Disconnects have proper covers & covers closed &fastened All seal tight & properly fitted No flexible cords taped or showing signs of wear No exposed wires on equipment Emergency stop devices work All controls function properly Indicator lamps operating Electrical cords do not hang on pipes, nails, hooks Unused openings are plugged No cords pass through walls, ceiling, doors or windows switches & circuit breakers labeled Electrical panels accessible | 42437.5833 | 42377.5833 | Bi-Monthly | In-House Staff | Julio Gonzalez | Jason Household
Pilates Reformers | Mod 108 Monthly 30 Second Test of the Emergency Lighting (See the Asset File Tab for the PM task). | 42464.2917 | 42432.2917 | Monthly | In-House Staff | Jason Household | Mike Rotch
Pilates Reformers | Mod 508 Monthly Sprinkler System Inspection and function Check ( See the Asset File Tab for the PM task). | 42464.2917 | 42432.2917 | Monthly | In-House Staff | Jason Household | Mike Rotch
Pilates Reformers | Mod 507 Room C22-1 Quarterly Inspection of the Telecom Dish (See the Asset File Tab for the PM task). | 42493.2917 | 42403.2917 | Quarterly | In-House Staff | Jason Household | Mike Rotch
Pilates Reformers | Mod 508 Quarterly Sprinkler System Inspection and Function Check (See the Asset File Tab for the PM task). | 42493 | 42403.9993 | Quarterly | In-House Staff | Jason Household | Mike Rotch
Pilates Reformers | Mod 108 Monthly 30 Second Test of the Emergency Lighting (See the Asset File Tab for the PM task). | 42464.2917 | 42432.2917 | Monthly | In-House Staff | Jason Household | Mike Rotch
Pilates Reformers | Mod 508 Quarterly Sprinkler System Inspection and Function Check (See the Asset File Tab for the PM task). | 42493 | 42403.9993 | Quarterly | In-House Staff | Jason Household | Mike Rotch
Pilates Reformers | copyMod 122 Annual Fire and Gas Calibration and Function Check (See the Asset File Tab for the PM task). | 42769.2917 | 42403.2917 | Annually | Plumbing company | MIke Smith | Sunny Goyal
Recumbent Bikes | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Recumbent Bikes | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task. | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Recumbent Bikes | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Recumbent Bikes | Mod 123 Annual Calibration of the Fuel Tank Level Controls (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Recumbent Bikes | Quarterly Inspection Novec Fire Suppression System (See the Asset File Tab for the PM Task). | 42493.2083 | 42403.2083 | Quarterly | In-House Staff | Jason Household | Mike Rotch
Rowing | Quarterly Inspection Novec Fire Suppression System (See the Asset File Tab for the PM Task). | 42493.2083 | 42403.2083 | Quarterly | In-House Staff | Jason Household | Mike Rotch
Rowing | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
aa | dfdf | 42496.9583 |  | Daily | In-House Staff | David Barbara | Ray Fuller
Lifecycle | Quarterly Inspection Novec Fire Suppression System (See the Asset File Tab for the PM Task) | 42493.2083 | 42403.2083 | Quarterly | In-House Staff | Jason Household | Mike Rotch
Stairclimbing | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Stairclimbing | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Stairclimbing | Airstrip Annual Calibration and Function Check of the PLC system (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Stairclimbing | Mod 107 Annual Fine Water Mist Water Change (See the Asset File Tab for the PM task0. | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Stairclimbing | Mod 107 Annual Calibration Diesel Filter Pressure Differential Transmitter (See the Asset File Tab for the PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Office Equipment | A condenser or condensing unit: typically a condensing coil inside which high temperature high pressure refrigerant gas flows, and over which a fan blows air to cool the refrigerant gas back to a liquid state (thus transferring heat from the refrigerant gas to the air being blown by the fan). The condenser unit is basically a coil of finned tubing and a fan to blow air across the coil. Usually the condenser unit is in the outdoor portion of an air conditioning system, often packaged along with the compressor motor discussed above. See COMPRESSOR CONDENSER and see our page top sketch too. The change of state of the refrigerant, from hot high pressure gas to a liquid releases heat, including heat collected inside the building) to the outdoors2194:1 | 42485 | 41752.9993 | Annually | In-House Staff | Patty Ramirez | Patty Ramirez
Air Conditioner | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Treadmills | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Treadmills | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Treadmills | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task). | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Treadmills | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task). | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Treadmills | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task) . | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Sunny Goyal
Lifecycle | Annual Emergency Lighting 90 Minute test (see the Asset file tab for the actual PM task) | 42769.2083 | 42403.2083 | Annually | In-House Staff | Jason Household | Mike Rotch
Lifecycle | Fire Extinguisher Inspection (see the Asset file tab for the actual PM task). | 42585.2083 | 42403.2083 | Semi-Annually | In-House Staff | Jason Household | Sunny Goyal
Lifecycle | Monthly Emergency Lighting 30 second test (see the Asset file tab for the actual PM task) | 42464.2083 | 42432.2083 | Monthly | In-House Staff | Jason Household | Mike Rotch
Air Conditioner TEST123 | fdgdfg | 42487.9993 |  | Daily | NF Tester Gmail & FAX |  | Ray Fuller
Air Conditioner | Annual maintenance Check the brake disc and pad wear Check the infeed motor Replace the sealed joints of the doctor blade caps Check belt of main anilox motor Grease the anilox and plate cylinder shaft bearings Check load cells Check side register bushings Clean the between colors drying boxes Clean the tunnel drying boxes Check the speed match transmission belt Check the belt of the side register device Check the cooling roller transmission belt Check the between colours drying air pressure Check the drying air in the tunnel screens Grease the doctor blade linear guides Grease the printer units linear guides Check positioning motor toothed belts Grease the printer unit spindle nuts Grease the side register device Clean the anilox and plate cylinder cap bearings Check all electrical connections Check the positioning servo motors encoder connection Check that all the contacts work properly Check the side register sensors and relays Check Internet connection Clean electric radi ators Check the state of the static relays in the electric drying system Check speed match motorization | 42594.9583 | 42228.9583 | Annually | NF Tester Hotmail | Hotmail W/Login Primar User | Patty Ramirez